## Slide 1: Veeam Group Discussion
TNG – How we increased productivity by using Veeam & Tintri

## Slide 2: How we increased productivity by using Veeam & Tintri
Storage considerations
  TCO considerations
  Performance
  Ease of management
Backup considerations
  Job creation considerations
    VM configurations (size, performance, storage)
      Using Tintri storage
    Backup repository considerations
      Using NAS storage
    Dedupe/compression per backup job
    Automatic VM backup additions
Things to consider
  NFS & Veeam hot-add proxy
  Job automation with different RPO/RTO
Future changes
  Centralizing Veeam backup server
  HTML tag based VM automation backup

## Slide 3: Reducing TCO (Save Money)
Chart: 
| GB/week | GB/year | Theoretical GB/week | Theoretical GB/year
Equallogic Tier1 | 0.35585 | 18.5043 | 0.050015 | 2.6008
Compellent | 0.059029 | 3.0695 | 0.049191 | 2.5579
Tintri | 0.033213 | 1.7271 | 0.016607 | 0.86355
Notes: Theoretical GB p/week=[(CompleteCost *3 years)/(90% of usable GB)/3 years]
Theoretical GB p/year=

## Slide 4: Reducing TCO (Save Money)
Chart: 
| OpEx/week | CapEx/week | CompCost/week
Equallogic Tier1 | 533.3 | 2282.0513 | 2815.3513
Compellent | 283.9933 | 1794.8718 | 2078.8651
Tintri | 421.4414 | 1153.8462 | 1575.2876
Notes: OpEx=[(space + power)*hours p/week]+[(support*3)+(maintenance*3)]
CapEx=[(CapEx/156 weeks)+(support*3 years/156 weeks)+(yearly maintenance hours*3/156)]

## Slide 5: Performance Comparison
IOps based on average between tests of random read/write – 80/20, 70/30, 60/40, 50/50
Throughput based on 100% read
Latency based on average across system
Device | IOps(8K) | Throughput(MBs) | Latency(ms)
Equallogic | 6500 | <250 | 10-20
Compellent | ≈40000 | <1000 | <5
Tintri | ≈50000 | <1200 | <2

## Slide 6: Tintri vs Traditional SAN VM Creation
Create SAN volume
Present storage ESXi
Choose disk tier
Set security
Rescan HBA
Add volume/name
Set tier options
Set security
Rescan cluster
Create VM
Deploy VM
Set performance

## Slide 7: Tintri vs Traditional SAN VM Creation
Create VM
Deploy VM
Rescan cluster
Add volume/name
Rescan HBA
Present storage ESXi
Set performance
Set security
Set tier options
Set security
Choose disk tier
Create SAN volume

## Slide 8: Storage Benefits Experienced
No more complaints about slow application/system
No more snapshot creation/removal taking too long with backups
Faster VM deployment
A lot more time to work on projects
  (researching how Steam impacts corporate networks)

## Slide 9: TNG VM Environment
30+ ESXi hosts
More than 500 VMs
2 main datacentres with 4 major RBO
>200TB of Production data
  >450 TB of backup data
2 admins for all the virtualization, backups, & design
  No time for Steam 

## Slide 10: TNG – Veeam Backup Environment

## Slide 11: Veeam Repositories
Performance
  How many concurrent jobs will you have written to each repository?
    You do not want too many concurrent writes
  Are you running SureBackup?
    Do you have enough performance?
  Veeam restores
    Do you have enough performance for Instant Recovery?
    Will you meet RTO during restores?
How to present repository (iSCSI or NFS)
  Advantages & disadvantages of each protocol
    TNG uses NFS, now
Veeam repository type
  Shared folder
    Advantages

## Slide 12: Veeam Job Considerations
Considerations
  Veeam dedupe/compression based on per job
    More alike systems you backup within one job, the higher dedupe/compression
  RPO/RTO are set per job
    Cannot have different RPO/RTO for VMs within the same Veeam job
  Are you running SureBackup?
    Do you have enough performance?
      Can your repository expand and run VMs directly?
      Is there just too much disk latency?
  Do you move, migrate, or decommission VMs on a regular basis
    Set the maintenance option “Remove deleted VM after X days”
  ESXi management network
    Is it fast/big enough?
  Site replication
    WAN fast/big enough?

## Slide 13: Veeam Job Workflow

## Slide 14: Automatic VM backups on Veeam
Automatic VM backup job placement
  Using VM folder placement
    No more missing new VMs from backups
    Makes VM folder tree complicated
  RPO/RTO are set per job
    Cannot have different RPO/RTO for VMs within the same Veeam job
  Jobs are already configured
    No adjustments needed
    Know where your VM backups reside
Future Release / Add-on
  Working on a multiple AND/OR logic to base VM placement based on HTML tags
    Integrated into VMware Orchestrator for Auto-Deploy or Auto-Decommission
      (My pipe dream)

## Slide 15: Veeam by the numbers
RPO/RTO SLA
  Meeting > 99% of our SLA
    No more missing new VMs from backups
    Instant Recovery gets a VM running < 2 minutes
Audit Failures
    100% over the past 3 years since Veeam
      No more audit failures due to VMs not being backed up or simulated recovery (SureBackup)
Cut daily administration by > 40%
  Jobs are already configured
    No adjustments needed
    Know where your VM backups reside
  KPI reports are easy to produce
    Veeam One View/Reporter provides custom dashboards for users/execs

## Slide 16: Presented by:
Brandt Winchell, TNG Senior Virtualization Analyst
Michael McIntosh, TNG Senior Virtualization Analyst